SAMPLE Protocol

BILEVEL PAP APPLICATION AND TITRATION PROTOCOL

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE

In order to provide the highest quality care for our patients, our sleep disorders lab adheres to the AASM Standards of Accreditation. The accompanying policy and procedure on bilevel titrations follow the spirit of the Clinical Guidelines for the Manual Titration of Positive Airway Pressure in Patients with Obstructive Sleep Apnea. We recognize that the guidelines from this 2008 consensus paper are nonbinding, and that there may be some minor deviations found in our policy.

POLICY

All individuals who record sleep studies must follow best practices for bilevel titrations in order to attain the ideal pressure setting for their patients. Too low of pressures may cause patients to either be sub-optimally treated or to wake up in a panic. Too much pressure may cause the patient to experience bloating or mask leakage. Determining the appropriate pressure setting for each patient will lead to improved adherence and outcome. Bilevel titrations are not an exact science, and it is understood that technologists may need to make minor changes for individual patients. The procedure below is meant as a guideline.

PROCEDURE

- Review the patient’s clinical notes for pertinent history.

- Review the patient’s previous sleep study or studies to assess the severity of sleep-disordered breathing, the type of respiratory events, and the position and stage at which the events were most severe. This will help to attain better titration.

  - Example: If the patient’s sleep-disordered breathing was worse in the supine position, make sure the patient stayed in the supine position as much as possible; or, if it was worse during REM sleep, minimize sleep disruption so that they can achieve and maintain REM sleep.

- Application of electrodes, montages, filters, sensitivities, and scoring will be performed according to the most current version of the AASM Scoring Manual.

- If the patient has not previously been on continuous positive airway pressure (CPAP), begin the patient on a bilevel setting of 8/4 cm of water. If the patient is morbidly obese or unable to fall asleep on the setting of 8/4 cm of water, higher starting pressures may be needed. If the patient has previously been successfully treated on CPAP, place the expiratory pressure at the therapeutic CPAP setting and the inspiratory pressure at 4 cm of water. The differential pressure used during bilevel titrations typically ranges from 4 to 10 cm of water. Higher differential pressures are uncomfortable to some patients but may be needed in patients who are morbidly obese or who have neuromuscular diseases.

- The recommended maximum inspiratory positive airway pressure (IPAP) is 25 cm H2O.

- If two apneas are present, inspiratory and expiratory pressure settings should be increased by 1 cm of water. If three hypopneas, 3 minutes of loud or unambiguous snoring, are present, inspiratory pressure settings should be increased by 1 cm of water. Intervals between pressure change should be no shorter than 5 minutes. Pressure settings may need to be increased more quickly during REM sleep given the limited amount of REM during sleep and the need to treat events during this stage.

- If a mask leak occurs, the technician should first fix the leak before raising the pressure. Otherwise, the final pressure setting chosen for the patient may be too high. Once the mask leak has been fixed, decrease the pressure to the last setting where mouth breathing and/or mask leakage was not present, and then retitrate as indicated. Make sure to document directly on the study the steps taken to resolve the leak and the type of masks used.

- The recording technologist should document directly on the study at least every 30 minutes.

- If the patient takes a break from wearing the mask, do not decrease the bilevel pressure on attempted return to sleep unless the patient remains awake for 15 minutes or the patient specifically requests that the pressure be lowered.

- If the patient has or develops central apneas, pressure setting may need to be lowered. If the patient has central apneas on bilevel, the use of spontaneous timed (ST) mode may be indicated. Make sure to document directly on the study why ST mode is being used.

- Ensure that supine sleep has been seen on the chosen setting. Increasing the inspiratory and expiratory pressures by 1 or 2 cm of water to show range may be helpful to ensure that the correct bilevel pressure has been established.