POLICY AND PROCEDURES

CO2 Monitoring

Effective Date: 00/00/0000 (month/day/year)				Policy Number:

Revised Date:

Approval Signature: To be signed by the site director

PURPOSE:

To establish proper guidelines when monitoring CO2 by either End Tidal (ETCO2) or transcutaneous (TcCO2) methods.

POLICY:

CO2 must be monitored for all patients aged 13 and under.

- When evaluating sleep-disordered breathing in children, it is recommended that both airflow and a measurement of CO2 be recorded.

- CO2 monitoring is used with the PSG to define hypoventilation and partial obstruction.

PROCEDURE:

- The CO2 with be monitored on all pediatric patients 13 years and under. Typically, TcCO2 will be monitored by a probe attached to the patient’s chest or ear.  ETCO2 is monitored by a cannula at the patient’s nares.

- During testing it may be necessary for the technologist to troubleshoot probe malfunction displacement, need for calibration.

- CO2 will be monitored and documented throughout the study. Any changes that occur in CO2 values will be documented.

- Typically, CO2 values are 35-45 mm Hg.  Values >50 mm Hg are considered abnormal for purposes of defining hypoventilation.

- Contact the facility director for CO2 values that are 60mm Hg for greater than 3 minutes after troubleshooting.