SAMPLE Protocol

PEDIATRIC PAP TITRATION PROTOCOL

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE

In order to provide the highest quality care for our patients, our sleep disorders entity adheres to the AASM Standards of Accreditation. The accompanying policy and procedure on pediatric titrations follow the spirit of the Clinical Guidelines for the Manual Titration of Positive Airway Pressure in Patients with Obstructive Sleep Apnea. We recognize that the guidelines from this 2008 consensus paper are nonbinding, and that there may be some minor deviations found in our policy.

POLICY

All individuals who record sleep studies must follow best practices for pediatric titrations in order to attain the ideal pressure setting for their patients. Too low of pressures may cause patients to either be suboptimally treated or to wake up in a panic. Too much pressure may cause the patient to experience bloating or mask leakage. Determining the appropriate pressure setting for each patient will lead to improved adherence and outcome. Pediatric titrations are not an exact science, and it is understood that technologists may need to make minor changes for individual patients. The procedure below is meant as a guideline.

PROCEDURE

- Review the patient’s clinical notes for pertinent history.

- Review the patient’s previous sleep study or studies to assess the severity of sleep-disordered breathing, the type of respiratory events, and the position and stage at which the events were most severe. This will help to attain a better titration.
Example: If the patient’s sleep-disordered breathing was worse in the supine position, make sure the patient stays in the supine position as much as possible; or, if it was worse during REM sleep, minimize sleep disruption so that the patient can achieve and maintain REM sleep.

- Application of electrodes, montages, filters, sensitivities, and scoring will be performed according to the AASM Scoring Manual.

- Prior to the start of the study, the patient should be assessed for appropriate interface. Use of fullface masks is limited in the pediatric population and indications for use should be made clear by the medical director.

- Begin the patient on a setting of 4 cm of water. If the patient is morbidly obese or unable to fall asleep on the setting of 4 cm of water, higher starting pressures may be needed. Bilevel titration should begin at 8/4 cm of water.

- If obstructive apneas or hypopneas are present based on the PAP flow signal, pressure settings should be increased by 1 cm of water (inspiratory and expiratory settings should be increased by 1 cm of water each if bilevel titration) and maintained for at least 5 minutes to determine if events improve or resolve. Pressure settings may need to be increased more quickly during REM sleep given the limited amount of REM during sleep and the need to treat events during this stage.

- The recommended CPAP maximum is 15 cm of water for patients less than12 years old and 20 cm for patients12 years or older.  For bilevel titration of sleep apnea (BPAP), the recommended maximum IPAP is 20 cm of water for patients less than 12 years old and 30 cm for patients 12 years or older.  A minimum IPAP-EPAP differential of 4 cm of water must be maintained at all times.

- If a mask leak occurs, the technician should first fix the leak before raising the pressure. Otherwise, the final pressure setting chosen for the patient may be too high. Once the mask leak has been fixed, decrease the pressure to the last setting where mouth breathing and/or mask leakage was not present, and then retitrate as indicated. Make sure to document directly on the study the steps taken to resolve the leak, and the type of masks used. Pressure settings usually do not need to be set as high with a nasal mask than with a fullface mask.

- The recoding technologist should document directly on the study at least every 30 minutes.

- If the patient takes a break from wearing the mask, do not decrease the pressure on attempted return to sleep unless the patient remains awake for 15 minutes, or the patient specifically requests that the pressure be lowered.

- Do not raise pressure settings for central apneas. If the patient develops central apneas, pressure setting may need to be lowered.

- If the patient is unable to tolerate CPAP secondary to 1) Persistent mouth breathing despite use of a fullface mask/chin strap; 2) Inability to exhale against higher expiratory pressures (typically around 15 cm of water in pediatric patients); or 3) has frequent central apneas; the use of bilevel positive airway pressure may be indicated. Document directly in the study the rationale for switching the patient from CPAP to BiPAP.

- Ensure that supine sleep is visible on the chosen setting. Going above the chosen setting by one half or 1 cm of water to show range may be helpful to ensure that the correct pressure has been established.

- Titrations that are being done for reasons other than obstructive sleep apnea, i.e., for hypoventilation or noninvasive ventilation, will typically involve a backup rate and will have a separate protocol.