SAMPLE POLICY

HSAT STaff Training

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE:

To ensure that HSAT staff receive proper training in using the HSAT device(s) in accordance with all applicable policies and procedures.

POLICY

All HSAT staff who participate in the HSAT program will be trained in the appropriate use of the HSAT device.  The training will be conducted by either the site director, other appropriately trained staff members, or a representative from the manufacturer. All training will be documented, and a copy will be maintained in the staff’s employee file.

PROCEDURE

- (insert name) __________will be responsible for training patients on the use of the device selected to be used. Documentation will be maintained in the employee’s personnel file.

- The training will encompass various aspects including, but not limited to:

  - operations and optimal use of the device

  - proper application of sensors

  - troubleshooting technical issues

  - specific safety protocols and warnings pertinent to the device

  - Techniques for educating patients and offering special instructions on device usage, including accessing technical support if needed Top of Form