SAMPLE POLICY

  - DME EQUIPMENT MAINTENANCE POLICY

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director.

PURPOSE

To establish maintenance procedures ensuring safe, accurate, and uninterrupted operation of patient-supplied medical equipment through routine cleaning and inspection.

POLICy

It is the policy to provide high-quality medical equipment and supplies in accordance with all safety standards. All equipment will be cleaned and inspected for electrical and mechanical safety consistent with manufacturer’s recommendations and OSHA regulations.

PROCEDURE

- All equipment maintained will be inventoried.

- Manufacturer manuals, warranties, and maintenance instructions for all equipment provided are maintained in the (insert location)     and accessible to all staff.

- Equipment returned will immediately be placed in the dirty equipment area for proper disinfection.

- Any disposable supplies received will be discarded in the proper container.

- Any physiological data or PHI will be downloaded and deleted from equipment/device prior to cleaning procedures.

- A record of equipment inspections and cleaning will be maintained and documented.

- The            (insert name) ______will inspect all equipment for:

  - physical condition of equipment

  - performance check (defects, malfunction, or failures)

  - problems noted

- Any equipment found to be defective or have failed or malfunctioned will be tagged for repair, and reported and documented in the on the Repair or Replace log.

- All cleaning staff are to wear appropriate personal protective equipment (PPE, i.e., gown, gloves, masks) based upon the type of equipment and cleaning agent used.

- All equipment must be wiped down with a high-grade disinfectant solution or sterilized according to recommendations of the manufacturer prior to placing in the “clean” ready area.

- Equipment will be labeled “ready for use.”

- All used PPE will be properly discarded.

- At least monthly, the        (insert name)______ will review the equipment log to categorize and analyze to determine cause and develop a plan to prevent future failures.