| Professional Staff: | Network/site director and medical staff members will obtain 30 credits of AMA PRA Category 1 Credits™ (averaged 10 credits per year over the past 36 months) in sleep medicine. |
| --- | --- |
| Technical Staff: | All sleep technicians and technologists must earn 30 continuing education credits (averaged 10 credits per year over the past 36 months). CE credits must be in sleep-related educational activities. |

SAMPLE POLICY

COMPUTER-ASSISTED SCORING POLICY

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE

To define requirements for the use of computer-assisted scoring of polysomnographic studies, in accordance with AASM Standard L-22.

POLICY

It is the policy of (insert name of entity) that if computer-assisted scoring of PSG is used, all computer-generated scores must be verified and edited by qualified personnel before interpretation. This policy applies only to service locations that utilize computer-assisted scoring software.

PROCEDURE

Computer-Assisted Scoring Requirements

If used, computer-assisted scoring of PSG must be verified and edited by a Registered Sleep Technologist (RST), Registered Polysomnographic Technologist (RPSGT), Certified Polysomnographic Technician (CPSGT), respiratory therapist with Sleep Disorders Specialist certification (CRT-SDS or RRT-SDS), or a medical staff member/PhD board-certified in sleep medicine (as defined in Standards N-1 and N-3).

Computer-generated scoring must be reviewed BEFORE interpretation by the sleep medicine physician.

All modifications made to computer-generated scores must be documented.

The identity of the reviewer/editor must be documented in the patient record.

Validation of Computer-Assisted Scoring Systems

Any computer-assisted scoring system used must be validated for use in the clinical setting.

The system must comply with the current AASM Scoring Manual requirements.

Periodic review of the accuracy of the computer-assisted scoring system should be performed.