| Professional Staff: | Network/site director and medical staff members will obtain 30 credits of AMA PRA Category 1 Credits™ (averaged 10 credits per year over the past 36 months) in sleep medicine. |
| --- | --- |
| Technical Staff: | All sleep technicians and technologists must earn 30 continuing education credits (averaged 10 credits per year over the past 36 months). CE credits must be in sleep-related educational activities. |

SAMPLE POLICY

PHYSICAL SAFETY POLICY - DME

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE

To ensure the physical space used for each service location complies with all required standards, regulations, and codes for construction, fire safety, and building codes applicable in the jurisdiction where services are provided, in accordance with AASM Standard S-8.

POLICY

It is the policy of (insert name of entity) that the physical space used for this service location complies with all required standards, regulations, and codes for construction, fire safety, and building codes applicable in the jurisdiction where services are provided.

PROCEDURE

Regulatory Compliance

The service location must comply with all applicable construction codes, fire safety regulations, and building codes in the local jurisdiction.

The Site Director is responsible for ensuring that the facility meets all applicable physical safety standards.

Evidence of compliance (e.g., current Certificate of Occupancy, fire inspection certificates) must be maintained on file.

Any identified deficiencies in physical safety must be documented and corrected promptly.

Annual Review

The Site Director will conduct an annual review of physical safety compliance.

Results of the annual review will be documented.

Any changes to regulations or building codes that may affect the service location must be reviewed and implemented as required.

Fire Safety

The service location must have functioning fire detection and suppression systems as required by local codes.

Fire evacuation routes must be posted in visible locations throughout the facility.

Fire drills must be conducted in accordance with local requirements.