| Professional Staff: | Network/site director and medical staff members will obtain 30 credits of AMA PRA Category 1 Credits™ (averaged 10 credits per year over the past 36 months) in sleep medicine. |
| --- | --- |
| Technical Staff: | All sleep technicians and technologists must earn 30 continuing education credits (averaged 10 credits per year over the past 36 months). CE credits must be in sleep-related educational activities. |

SAMPLE POLICY

EMERGENCY EQUIPMENT POLICY

Effective Date: 00/00/0000 (month/day/year)

Revision Date:

Approval Signature: To be signed by the site director

PURPOSE

To ensure each service location has appropriate emergency equipment available, and that equipment is maintained and staff are trained in its use, in accordance with AASM Standard S-7.

POLICY

It is the policy of (insert name of entity) that this service location must have appropriate equipment to address possible emergencies. At a minimum, all service locations must have immediate access to either an automated external defibrillator (AED) or access to an on-site medical emergency response team. All emergency equipment must be maintained according to manufacturers' recommendations and staff must be trained in its use.

PROCEDURE

Required Emergency Equipment

Each service location must have immediate access to either: (a) an automated external defibrillator (AED) on-site; OR (b) an on-site medical emergency response team.

The location and accessibility of all emergency equipment must be clearly communicated to all staff.

Emergency equipment must be accessible at all times when services are being provided.

Staff must be familiar with the location and operation of all emergency equipment.

Equipment Maintenance

All emergency equipment must be maintained and documented according to manufacturers' recommendations.

AED battery and pad expiration dates must be checked at least monthly and documented in the equipment maintenance log.

AED devices must be tested and/or self-tested per manufacturer specifications, with results documented.

Any deficiencies identified in emergency equipment must be corrected immediately and documented.

Staff Training

All staff responsible for patient care must maintain a current Basic Life Support (BLS/CPR) certification that includes manikin skills training.

Training on the use of all emergency equipment, including the AED, must be documented for each staff member.

New staff must be trained on emergency equipment use prior to working independently with patients.

Refresher training on emergency equipment use must be provided at least annually.